## Slide 1: CREATING A COMMON TELCO NFVi
Artifacts

## Slide 2
Bogo-Meter | On front of each chapter.
Bogo-Meter rating
Complete
Dickering over the fine points
Lots of SME feedback
Still developing content
Initial framework only

## Slide 3
Reference NFVI Hardware
Reference NFVI Software
Infrastructure Profiles Catalogue
Compliance & Certification, and Verification
NFVI Metrics & Capabilities
VNF Requirements
VNF
VNF
VNF
VNF
N
C
B
Infrastructure Abstraction
NFVI Metrics & capabilities
Infrastructure Profiles Catalogue
Infrastructure Profiling
Reference NFVI SW/HW Profiles and configurations
----
CNTT | Scope.

## Slide 4
Basic
PCRF
Network Intensive
Compute Intensive
Example VNFs
Example VNFs
Example VNFs
mVAS
IMS
BNG
CPE
CDN
DPI
SEC-GW
Firewall
Basic requirement of NFVI resources
(CPU, RAM, Network, Storage)
Low Throughput
High Availability
Wide range of NFVI resources
(CPU, RAM, Network, Storage)
High Throughput, Low Latency
High Availability, Network Acceleration
Wide range of NFVI resources
(CPU, RAM, Network, Storage)
High Compute/Memory, Low Latency
High Availability, Hardware Acceleration
CNTT | Profiles.

## Slide 5
VNF
Instance A
Compute Flavours
Metrics & Capabilities
S
M
L
Metric | Value
Instance B
Compute Flavours
Metrics & Capabilities
S
M
L
Metric | Value
Instance C
Compute Flavours
Metrics & Capabilities
S
M
L
Metric | Value
VNF
VNF
VNF
VNF-C
N
VNF-C
B
VNF-C
B
VNF-C
B
VNF-C
B
VNF-C
H
VNF-C
N
VNF-C
B
…
…
…
…
CNTT | VNF Construct.

## Slide 6
VNF
Control
VNF-C
DP
VNF-C
DP
VNF-C
S
B
M
N
L
N
Instance type
Compute flavour
CNTT | VNF Construct.

## Slide 7
crypto look-aside
.la-crypto
ipsec in-line
.il-ipsec
transcoding look-aside
.la-trans
Network Acceleration (A extension)
S extensions (Ext. Storage)
.100GB
default storage type
.200GB
default storage type
.300GB
default storage type
.blk100GB
block storage type
.blk200GB
block storage type
.blk300GB
block storage type
Compute Flavours
.tiny
1 vCPU
512MB RAM
.small
1 vCPU
2 GB RAM
.medium
2 vCPU
4GB RAM
.large2
4 vCPU
16GB RAM
.xlarge
8 vCPU
16GB RAM
.xlarge2
8 vCPU
32GB RAM
.large
4 vCPU
8GB RAM
.xlarge3
8 vCPU
64GB RAM
1 GB Disk
40 GB Disk
40 GB Disk
80 GB Disk
80 GB Disk
160 GB Disk
160 GB Disk
160 GB Disk
1 Gbps
1 Gbps
1 Gbps
1 Gbps
1 Gbps
1 Gbps
1 Gbps
1 Gbps
B Instance Basic
(I) Interfaces Options
B <I opt> . <flavour> . <S ext>
Can be instantiated in any Data Centre.
1
1x 1Gbps
10
1x 10Gbps
1D
2x 1Gbps
10D
2x 10Gbps
1T
3x 1Gbps
10T
3x 10Gbps
…
…
N Instance Network intensive
(I) Interfaces Options
N <I opt> . <flavour> . <S ext> . <A ext>
Aimed for regional data centres, Access, & POP.
25
1x 25Gbps
40D
2x 40Gbps
25D
2x 25Gbps
100
1x 100Gbps
40
1x 40Gbps
100D
2x 100Gbps
…
…
H Instance Compute intensive
(I) Interfaces Options
H <I opt> . <flavour> . <S ext> . <A ext>
Aimed for local data centres, and on Edge.
25
1x 25Gbps
40D
2x 40Gbps
25D
2x 50Gbps
50
1x 50Gbps
40
1x 40Gbps
50D
2x 50Gbps
…
…
Programmable look-aside
.la-prog
Compute Acceleration (A extension)
CNTT | Catalogue.

## Slide 8
NFVI SW Infrastructure (NFVI)
Virtual Networking
VNF
VNF-C
VNF-C
vPort
…
vPort
VNF-C
vPort
…
vPort
vPort
…
vPort
vNIC interface
e.g. virt-io
Compute nodes
VIM (Virtual Infrastructure Management)
Control nodes
Virtual Storage
Virtual Compute
SDN
CNTT | Basic SW Config.

## Slide 9
NFVI SW Infrastructure (NFVI)
Accelerated/Offloaded Virtual Networking
VNF
VNF-C
VNF-C
vPort
…
vPort
vPort
…
vPort
vPort
…
vPort
vNIC interface
e.g. virt-io
Compute nodes
VIM (Virtual Infrastructure Management)
Control nodes
Virtual Storage
Virtual Compute
SDN
Network Accelerators
Acc interface
e.g. virtio-ipsec
VNF-C
CNTT | NI SW Config.

## Slide 10
NFVI SW Infrastructure (NFVI)
Accelerated Virtual Networking
VNF
VNF-C
VNF-C
vPort
…
vPort
vPort
…
vPort
vPort
…
vPort
vNIC interface
e.g. virt-io
Compute nodes
VIM (Virtual Infrastructure Management)
Control nodes
Virtual Storage
Virtual Compute
SDN
HW Accelerators FPGA/CPU/NPU
HW Acc interface
VNF-C
CNTT | CI SW Config.

## Slide 11
Basic
Virtual Compute, Network, and Storage
Over-subscription
HA
Network Intensive
SDN controller
CPU Pinning
Virtual Compute, Network, Acceleration, and Storage
Zero over-subscription
HA
Compute Intensive
Monitoring
NVMe/SSD
Virtual Compute, Network, GPU/FPGA, and Storage
Zero over-subscription
HA
Basic
2 x16-core @ 2.2 GHz
256 GB RAM
2 x 10 GbE
HDD
SSD
Network Intensive
2 x 20-core @ 2.1 GHz
SmartNIC / HW Acceleration
512 GB RAM
2 x 25GbE
HDD
SSD
Compute Intensive
2 x 24-core @ 2.1 GHz
FPGA / GPU / HW Acceleration
768GB RAM
2 x 25GbE
HDD
SSD
CNTT | HW/SW Config.

## Slide 12
CNTT | HW/SW Config.
Basic
SMT/HT
PCIe
#NIC
SSD
#CPU
#Cores
RAM(GB)
HDD
Network Intensive
SMT/HT
PCIe
#NIC
SSD
#CPU
#Cores
RAM(GB)
HDD
Network Acc
HW Offloads
Compute Intensive
SMT/HT
PCIe
#NIC
SSD
#CPU
#Cores
RAM(GB)
HDD
FPGA/GPU
HW Offloads

## Slide 13
Memory
Memory
CPU 1
CPU 0
CNTT | Basic HW Config.

## Slide 14
Memory
Memory
CPU 1
CPU 0
HW offload
HW offload
Internal/External
Hardware Acceleration
CNTT | NI HW Config.

## Slide 15
Memory
Memory
CPU 1
CPU 0
Internal/External
Hardware Acceleration
CNTT | CI HW Config.

## Slide 16: Diagram based on Terminology
VNF on VM
VNF on Container on VM
VNF on Container
Containers
_________
Container Runtime + Networking
Containers
______________
Container Runtime + Networking
Hypervisor (KVM, ESXi)
VM
VM
Virtual
Network
Neutron
NSX
Virtual
Network
Contrail

## Slide 17: Software Terminologies
vApp
VNF
CNF
VM
Hypervisor
NFVI SW Layer
Network Function
Network Service
Service Layer
Application Layer
Container
workload
Compute | Networks | Storage
Virtual Resources
Container Engine
NFVI SW Configuration
NFVI SW Profile
VM Instances
Catalogue
Instance Type
Compute flavour

## Slide 18: Hardware Layers Terminologies
NFVI HW Layer
Compute | Networks | Storage
Hardware Resources
NFVI HW Configuration
NFVI HW Profile
Compute
Storage
Network
Physical
Network Function
(PNF)

## Slide 19: Thank you